## COVER
PROPOSED RENOVATION OF OLD PIT-LATRINES AND CONSTRUCTION OF NEW PIT-LATRINES FOR SELECTED SCHOOLS IN GULU AND AMURU DISTRICT.
BLANK - BILLS OF QUANTITIES FOR PHASE ONE
CLIENT: | KATALEMWA CHESHIRE HOME
P.O BOX 16548 Kampala, Uganda
Tel: +256-414590739
CONSULTANT: | QS. MUTEBI IVAN KIMERA
QUANT CONSULTS LIMITED
P.O. BOX 3596, KAMPALA - UGANDA.
Email: kimeraivan13@gmail.com
QUOTATION BY:
AUGUST 2026

## Fly1-MS
MAIN SUMMARY

## MAIN SUMMARY
a
a | PROPOSED RENOVATION OF OLD PIT-LATRINES AND CONSTRUCTION
a
a | OF NEW PIT-LATRINES FOR SELECTED SCHOOLS IN GULU AND AMURU DISTRICT.
a
a | MAIN SUMMARY (PHASE ONE)
a | BILL No | BILL | %AGE | AMOUNT (USH)
a
a | 1 | PRELIMINARIES including;- Site supervision costs, Transportation costs, Temporary store, Water, Electricity, Security, Health & Safety and Signs. (8% of (2+3+4+5)) | 8% | 0
a
a | 2 | AWACH CENTRAL PRIMARY SCH - GULU |  | 0
a
a | 3 | LAROO PRIMARY SCHOOL - GULU |  | 0
a
a | 4 | AGOLE PRIMARY SCHOOL - AMURU |  | 0
a
a | 5 | PABO PRIMARY SCHOOL - AMURU |  | 0
a
a | A | SUB TOTAL 1 |  | 0
a
a |  | ADD: CONTINGENCIES | 5% | 0
a
a | B | SUB TOTAL 2 |  | 0
a
a |  | ADD: VAT | 18% | 0
a
a | C | TOTAL PROJECT AMOUNT FOR PHASE 1 |  | 0
a
a
a
a
a
a | …………………………………… |  | ……………………………………………
a | Signature of Employer |  | Signature of Contractor
a
a
a | Witness: | ________________________ | Witness: | __________________
a |  | ________________________ |  | __________________
a
a
a | Date: | …………………………………… | Date: | ………….………………..….
a
a

## Fly2-AW
Bill: No.2
AWACH CENTRAL PRIMARY SCHOOL

## Bill no.2-AWACH PS
REF | ITEM | DESCRIPTION | UNIT | QTY | RATE (UGX) | AMOUNT (UGX)
a
a |  | Bill No. 2
a
a |  | AWACH CENTRAL PRIMARY SCHOOL
a
a |  | ELEMENT NO.1-SUBSTRUCTURE
a
a |  | (All Substructure are provisional)
a
a |  | Site Preparation
a
a | A | Excavate oversite to remove Veg. soil average 150mm aver. deep and remove from site. | SM |  |  | 0
a
a | B | Excavate for pit not exceeding 1.5m deep | CM |  |  | 0
a
a | C | Ditto exceeding exceeding 1.5m but not but not exceeding 4.5m deep | CM |  |  | 0
a
a | D | Excavate trenches for wall foundations: commencing from reduced levels: not exceeding 1.5m deep . | CM |  |  | 0
a
a |  | Disposal of excavated material
a | E | Return, fill and ram selected/Approved excavated materials around foundations . | CM |  |  | 0
a
a | F | Load, cart, deposit, deposite surplus soil on site average 100mm from excavations. | CM |  |  | 0
a
a | G | 150mm thick compacted murram base | CM |  |  | 0
a
a |  | Vibrated concrete class 20/20mm: , as described
a | H | Strip foundation | CM |  |  | 0
a
a | I | 100mm thick base | CM |  |  | 0
a
a |  | Vibrated reinforced concrete Grade 25/20 as described
a | J | Slab beams and ring Beams | CM |  |  | 0
a
a | A | Columns | CM |  |  | 0
a
a | C | 125mm thick Top slab tamped to fabric reinforcement | CM |  |  | 0
a
a |  | Carried to Collection |  |  |  | 0
a
a
a |  | Round mild steel bar reinforcement to BS 4449
a
a | A | 8mm. | KG |  |  | 0
a
a |  | High yield twistedn bars reinforcement to BS 4449
a
a | B | 12mm diameter bar | KG |  |  | 0
a
a | C | 12mm diameter bar in columns | KG |  |  | 0
a
a |  | Sawn formwork as described to:
a
a | D | Sides of slab beams and ring beams | SM |  |  | 0
a
a | E | Sides of Columns | SM |  |  | 0
a
a | F | Soffits of suspended top Slab | SM |  |  | 0
a
a | G | Edge of slab 75-300mm thick. | SM |  |  | 0
a
a |  | Brickwork in burnt clay bricks in cement and sand mortar (1:4) mix; with and including 25 x 3mm hoop iron strips laid horizontally every alternate course.
a
a | H | 200mm thick brick walling bedded and jointed in cement sand (1:3).mortar with 25 x 1.5 thick metal strip at every course | SM |  |  | 0
a
a | I | 19mm approved Water Proof cement sand (1:3) internal plaster finished smooth to walls internally inside the pit | SM |  |  | 0
a
a
a
a
a
a
a
a
a
a
a
a
a |  | Carried to Collection |  |  |  | 0
a
a
a | A | 650 x 650 x 4000mm deep inspection and drainage chamber complete with finishes and a steel cover | NO |  |  | 0
a
a | B | 100mm diameter uPVC soil and vent pipe 3500mm high with and including metal clips plus wire balloon grating. | NO |  |  | 0
a
a | C | 1000gauge DPM membrane laid at the bottom and sidesides of Pit before casting the base | SM |  |  | 0
a
a
a |  | Carried to Collection |  |  |  | 0
a
a
a
a |  | COLLECTION
a
a |  | Brought forward from 1 |  |  |  | 0
a
a |  | Brought forward from 2 |  |  |  | 0
a
a |  | Brought forward from 3 |  |  |  | 0
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a |  | Total Carried To Bill Summary |  |  |  | 0
a
a
a |  | ELEMENT NO.2 - SUPERSTRUCTURE WALLING
a
a |  | Brickwork in burnt clay bricks in cement and sand mortar (1:4) mix; with and including 25 x 3mm hoop iron strips laid horizontally every alternate course.
a
a | A | 125mm thick walling reinforced with and including 25 x 3mm hoop iron strips laid horizontally every alternate course. | SM |  |  | 0
a
a | B | 100mm thick Pompei burnt clay ventilation 600x600mm | SM |  |  | 0
a
a |  | Precast concrete units: class 25/12mm aggregate [mix 1:1.5:3] units : reinforced with 250mm wide weld mesh strip : finished fair on exposed surfaces : bedded and jointed in cement and sand (1:4) mortar;
a
a | C | 125 x 200mm concrete lintol with 4 No. 12mm diameter bars tied with 8mm bars at centres | LM |  |  | 0
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a |  | Total Carried To Bill Summary |  |  |  | 0
a
a
a |  | ELEMENT NO.3 - ROOF
a
a |  | Treated Sawn Wood
a
a | A | 75 x 100 Rafters and Ties | LM |  |  | 0
a
a | B | 50 x 75mm purlins | LM |  |  | 0
a
a | C | 75 x 100mm wall plate | LM |  |  | 0
a
a | D | 20 x 200mm Fascia board | LM |  |  | 0
a
a | E | Prepare and paint three coats of weathergaurd paint on 200-300 mm girth | LM |  |  | 0
a
a |  | Roof covering
a
a | F | 28 Gauge prepainted galvanised super-echo profile roofing sheets nailed on timber purlins as per manufacturers instructions | SM |  |  | 0
a
a | G | 28 Gauge standard pre-painted ridge capping dress over roofing sheets | LM |  |  | 0
a
a | H | Ditto: Translucent Roofing Sheets (4no) | SM |  |  | 0
a
a |  | Rainwater Harvesting
a
a | I | Half round PVC rain water gutter size 110mm wide or other approved size, fixed to fascia board with and including metal brackets at 1000mm centres. | LM |  |  | 0
a
a | J | 110mm stop ends | NO |  |  | 0
a
a | K | 110 x 75mm gutter outlets | NO |  |  | 0
a
a | L | 75mm Ø rain water down pipe fixed and clipped to walls with approved holderbats. | LM |  |  | 0
a
a | M | Extra over down pipe for bends | NO |  |  | 0
a
a | N | Extra for Horse shoe | NO |  |  | 0
a
a
a
a
a
a |  | Total Carried To Bill Summary |  |  |  | 0
a
a
a |  | ELEMENT NO.4 - DOORS
a
a |  | DOORS:
a
a |  | Steel Doors complete with 1coat primer and 3coats of gloss oil paint
a
a | A | D1 - 1100mm x 2400mm high single solid steel framed door with PVO | NO |  |  | 0
a
a | B | D2 - 900mm x 2400mm high single solid steel framed door with PVO | NO |  |  | 0
a
a | C | D3 - 800mm x 2400mm high single solid steel framed door | NO |  |  | 0
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a |  | Total Carried To Bill Summary |  |  |  | 0
a
a
a |  | ELEMENT NO.5 - WALL FINISHES
a
a |  | Plastering and Rendering
a
a | A | Cement sand 1:4 plastering to walls internally | SM |  |  | 0
a
a | B | Cement sand 1:4 render to walls externally | SM |  |  | 0
a
a | C | Prepare & apply one undercoat and three coats of silk vinnyl emulsion paint to walls internally | SM |  |  | 0
a
a | D | Ditto but weather guard paint to walls externally | SM |  |  | 0
a
a |  | PWD Stance handles
a | E | Supply and instal 50mm RHS double support handles for disabled secured into 125mm Brick wall to Architects' detail | ITEM |  |  | 0
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a |  | Total Carried To Bill Summary |  |  |  | 0
a
a
a |  | ELEMENT NO.6 - FLOOR FINISHES
a
a |  | Floor screed
a | A | 25mm thick cement sand 1:2 screed finished smooth | SM |  |  | 0
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a |  | Total Carried To Bill Summary |  |  |  | 0
a
a
a |  | ELEMENT NO.7 - M&E INSTALLATIONS
a
a |  | ELECTRICAL INSTALLATIONS
a | A | Provide a provisional sum for Electrical Installations including all necessary Accessories, connections and appliances (2,000,000Ush) | SUM | 0 |  | 0
a
a |  | PLUMBING INSTALLATIONS
a | B | Provide a provisional sum for Plumbing Installations including PPR 40mm, 32mm,25mm,50mm pipes, bends, elbows, tee, flow-traps and a simple soak-pit 1x1.5m to draine the waste water (2,000,000Ush) | SUM | 0 |  | 0
a
a | C | Connection to the nearest water point to fix a water point in the changing room comprising of excavation for trench, fixing 25mm HDPE pipe, backfilling soils all complete connections. | LM |  |  | 0
a
a | D | 12mm chrome plated wall mounted tap at 600mm from the floor laveal, as Jaguar or equal approved. Above the tap at 1.4m high for the floor, fix an open storage cabinet 600x600x200mm depth made of 3vertical & horizontal members of 20mm thick treated varnished hardwood.. | NO |  |  | 0
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a |  | Total Carried To Bill Summary |  |  |  | 0
a
a
a |  | ELEMENT NO.8 - EXTERNAL WORKS
a |  | Water tank with a tap
a | A | Supply and install a 500litres PVC storage tanks supported on a concrete base raise 900mm above the ground encase with a 100mm thick walling 300mm high from the tank bottom all complete with 1:2 plaster finish and a half-turn 12mm chrome tap or equally approved | NO | 2 |  | 0
a |  | Access Ramp
a | B | 1200 x 2000 x 300mm average depth ramp comprising of burnt clay brickwork jointed in 1:3mortat joints, hardcore fills to slop, class 20 concrete casting 100mm thick complete with finishing to top and edges wth 1:2 screed. | NO |  |  | 0
a | C | Provide for making good existing ramp to ensure smooth connection between the ramp and existing ground in sections where the connection was damaged by the water run-offs. | ITEM |  |  | 0
a
a |  | Paved walkway
a | D | Excavation of soils to reduce levels not exceeding 1.0 metres deep and fill soils at site then compact to 95% MDD | CM | 3 |  | 0
a
a | E | Imported marrum filling well compacted to 95%MDD in layers not exceeding 150mm, well watered to have a stable ground at site | CM | 5 |  | 0
a
a | F | 200x100x60mm thick Precast concrete light-duty paving blocks to B.S 340 bedded, jointed and laid on 50mm bed of sand: | SM | 14 |  | 0
a
a | G | Road Kerbs of Precast concrete grade 20 Half battered road kerbs to B.S 340 bedded, jointed and pointed in cement mortar (1:2) laid on and including plain insitu concrete grade 25 foundation size 450 x 150mm thick and 100 x 165mm high haunching on one side. | LM | 20 |  | 0
a
a |  | Lightening Protection
a | H | Supply and fix Lightening arrestor, Earth electrode 1200mm, Test clamp, Earth pit, Copper tape of hard drawn high conductivity copper 3mm x 25mm cross section for horizontal and down conductors complete with fixing clips all complete with other Accessories | NO |  |  | 0
a
a |  | Total Carried To Bill Summary |  |  |  | 0
a
a
a |  | ELEMENT NO.9 - RENOVATION WORKS
a |  | Steel Doors complete with 1coat primer and 3coats of gloss oil paint
a | A | D1 - 1100mm x 2400mm high single solid steel framed door with PVO | NO |  |  | 0
a | B | D2 - 900mm x 2400mm high single solid steel framed door with PVO | NO |  |  | 0
a | C | D3 - 850mm x 2100mm high single solid steel framed door | NO |  |  | 0
a
a |  | Roofing
a | D | 75 x 100 Rafters and Ties | LM |  |  | 0
a | E | 50 x 75 purlins | LM |  |  | 0
a | F | 20 x 200 mm Fascia board | LM |  |  | 0
a | G | Prepare and paint three coats of weathergaurd paint on 200-300 mm girth | LM |  |  | 0
a | H | 28 Gauge prepainted galvanised super-echo profile roofing sheets nailed on timber purlins as per manufacturers instructions | SM |  |  | 0
a | I | 28 Gauge standard pre-painted ridge capping dress over roofing sheets | LM |  |  | 0
a | J | Ditto: Translucent Roofing Sheets (4no) | SM |  |  | 0
a
a |  | Rainwater Harvesting
a | K | Half round PVC rain water gutter size 110mm wide or other approved size, fixed to fascia board with and including metal brackets at 1500mm centres. | LM | 9 |  | 0
a | L | 110mm stop ends | NO | 2 |  | 0
a | M | 110 x 75mm gutter outlets | NO | 2 |  | 0
a | N | 75mm Ø rain water down pipe fixed and clipped to walls with approved holderbats. | LM | 8 |  | 0
a | O | Extra over down pipe for bends | NO | 4 |  | 0
a | P | Extra for Horse shoe | NO | 2 |  | 0
a
a |  | Wall and Floor Finishes
a | Q | 25mm thick cement sand 1:2 screed finished smooth | SM | 39 |  | 0
a | R | Cement sand 1:4 plastering to walls internally | SM |  |  | 0
a | S | Cement sand 1:4 render to walls externally | SM |  |  | 0
a
a |  | Painting Works
a | T | Prepare and Apply one undercoat and three coats of silk vinnyl emulsion paint to walls internally | SM | 199 |  | 0
a | U | Ditto but weather guard paint to walls externally | SM | 60 |  | 0
a
a |  | Carried to Collection |  |  |  | 0
a
a
a |  | PWD Stance handles
a | A | Supply and instal 50mm RHS double support handles for disabled secured into 125mm Brick wall to Architects' detail | ITEM |  |  | 0
a
a |  | Plumbing Installations
a | B | Provide a provisional sum for Plumbing Installations including PPR 40mm, 32mm,25mm,50mm pipes, bends, elbows, tee, flow-traps and a simple soak-pit 1x1.5m to draine the waste water (2,000,000Ush) | SUM | 0 |  | 0
a
a | C | Connection to the nearest water point to fix a water point in the changing room comprising of excavation for trench, fixing 25mm HDPE pipe, backfilling soils all complete connections. | LM |  |  | 0
a
a | D | 12mm chrome plated wall mounted tap at 600mm from the floor laveal, as Jaguar or equal approved. Above the tap at 1.4m high for the floor, fix an open storage cabinet 600x600x200mm depth made of 3vertical & horizontal members of 20mm thick treated varnished hardwood.. | NO |  |  | 0
a
a |  | Carried to Collection |  |  |  | 0
a
a |  | COLLECTION
a
a |  | Brought forward from 1 |  |  |  | 0
a
a |  | Brought forward from 2 |  |  |  | 0
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a |  | Total Carried To Bill Summary |  |  |  | 0
a
a
a |  | SUMMARY
a
a |  | AWACH CENTRAL PRIMARY SCHOOL
a
a | 1 | SUBSTRUCTURE |  |  |  | 0
a
a | 2 | SUPERSTRUCTURE WALLING |  |  |  | 0
a
a | 3 | ROOF |  |  |  | 0
a
a | 4 | DOORS |  |  |  | 0
a
a | 5 | WALL FINISHES |  |  |  | 0
a
a | 6 | FLOOR FINISHES |  |  |  | 0
a
a | 7 | M&E INSTALLATIONS |  |  |  | 0
a
a | 8 | EXTERNAL WORKS |  |  |  | 0
a
a | 9 | RENOVATION WORKS |  |  |  | 0
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a |  | TOTAL CARRIED TO MAIN SUMMARY |  |  |  | 0
a

## Fly3-LR
Bill: No.3
LAROO PRIMARY SCHOOL

## Bill no.3-LAROO PS
REF | ITEM | DESCRIPTION | UNIT | QTY | RATE (UGX) | AMOUNT (UGX)
a
a |  | Bill No. 3
a
a |  | LAROO PRIMARY SCHOOL
a
a |  | ELEMENT NO.1-SUBSTRUCTURE
a
a |  | (All Substructure are provisional)
a
a |  | Site Preparation
a
a | A | Excavate oversite to remove Veg. soil average 150mm aver. deep and remove from site. | SM | 50 |  | 0
a
a | B | Excavate for pit not exceeding 1.5m deep | CM | 35 |  | 0
a
a | C | Ditto exceeding exceeding 1.5m but not but not exceeding 4.5m deep | CM | 70 |  | 0
a
a | D | Excavate trenches for wall foundations: commencing from reduced levels: not exceeding 1.5m deep . | CM | 17 |  | 0
a
a |  | Disposal of excavated material
a | E | Return, fill and ram selected/Approved excavated materials around foundations . | CM | 13 |  | 0
a
a | F | Load, cart, deposit, deposite surplus soil on site average 100mm from excavations. | CM | 0 |  | 0
a
a | G | 150mm thick compacted murram base | CM | 4 |  | 0
a
a |  | Vibrated concrete class 20/20mm: , as described
a | H | Strip foundation | CM | 2 |  | 0
a
a | I | 100mm thick base | CM | 2 |  | 0
a
a |  | Vibrated reinforced concrete Grade 25/20 as described
a | J | Slab beams and ring Beams | CM | 2 |  | 0
a
a | A | Columns | CM | 1 |  | 0
a
a | C | 125mm thick Top slab tamped to fabric reinforcement | CM | 3 |  | 0
a
a |  | Carried to Collection |  |  |  | 0
a
a
a |  | Round mild steel bar reinforcement to BS 4449
a
a | A | 8mm. | KG | 140 |  | 0
a
a |  | High yield twistedn bars reinforcement to BS 4449
a
a | B | 12mm diameter bar in beams | KG | 311 |  | 0
a
a | C | 12mm diameter bar in columns | KG | 128 |  | 0
a
a |  | Sawn formwork as described to:
a
a | D | Sides of slab beams and ring beams | SM | 24 |  | 0
a
a | E | Sides of Columns | SM | 27 |  | 0
a
a | F | Soffits of suspended top Slab | SM | 13 |  | 0
a
a | G | Edge of slab 75-300mm thick. | SM | 23 |  | 0
a
a |  | Brickwork in burnt clay bricks in cement and sand mortar (1:4) mix; with and including 25 x 3mm hoop iron strips laid horizontally every alternate course.
a
a | H | 200mm thick brick walling bedded and jointed in cement sand (1:3).mortar with 25 x 1.5 thick metal strip at every course | SM | 88 |  | 0
a
a | I | 19mm approved Water Proof cement sand (1:3) internal plaster finished smooth to walls internally inside the pit | SM | 102 |  | 0
a
a
a
a
a
a
a
a
a
a
a
a
a |  | Carried to Collection |  |  |  | 0
a
a
a | A | 650 x 650 x 4000mm deep inspection and drainage chamber complete with finishes and a steel cover | NO | 1 |  | 0
a
a | B | 100mm diameter uPVC soil and vent pipe 3500mm high with and including metal clips plus wire balloon grating. | NO | 1 |  | 0
a
a | C | 1000gauge DPM membrane laid at the bottom and sidesides of Pit before casting the base | SM | 102 |  | 0
a
a
a |  | Carried to Collection |  |  |  | 0
a
a
a
a |  | COLLECTION
a
a |  | Brought forward from 1 |  |  |  | 0
a
a |  | Brought forward from 2 |  |  |  | 0
a
a |  | Brought forward from 3 |  |  |  | 0
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a |  | Total Carried To Bill Summary |  |  |  | 0
a
a
a |  | ELEMENT NO.2 - SUPERSTRUCTURE WALLING
a
a |  | Brickwork in burnt clay bricks in cement and sand mortar (1:4) mix; with and including 25 x 3mm hoop iron strips laid horizontally every alternate course.
a
a | A | 125mm thick walling reinforced with and including 25 x 3mm hoop iron strips laid horizontally every alternate course. | SM | 98 |  | 0
a
a | B | 100mm thick Pompei burnt clay ventilation 600x600mm | SM | 5 |  | 0
a
a |  | Precast concrete units: class 25/12mm aggregate [mix 1:1.5:3] units : reinforced with 250mm wide weld mesh strip : finished fair on exposed surfaces : bedded and jointed in cement and sand (1:4) mortar;
a
a | C | 125 x 200mm concrete lintol with 4 No. 12mm diameter bars tied with 8mm bars at centres | LM | 25 |  | 0
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a |  | Total Carried To Bill Summary |  |  |  | 0
a
a
a |  | ELEMENT NO.3 - ROOF
a
a |  | Treated Sawn Wood
a
a | A | 75 x 100 Rafters and Ties | LM | 95 |  | 0
a
a | B | 50 x 75mm purlins | LM | 85 |  | 0
a
a | C | 75 x 100mm wall plate | LM | 32 |  | 0
a
a | D | 20 x 200mm Fascia board | LM | 26 |  | 0
a
a | E | Prepare and paint three coats of weathergaurd paint on 200-300 mm girth | LM | 26 |  | 0
a
a |  | Roof covering
a
a | F | 28 Gauge prepainted galvanised super-echo profile roofing sheets nailed on timber purlins as per manufacturers instructions | SM | 43 |  | 0
a
a | G | 28 Gauge standard pre-painted ridge capping dress over roofing sheets | LM | 18 |  | 0
a
a | H | Ditto: Translucent Roofing Sheets (4no) | SM | 10 |  | 0
a
a |  | Rainwater Harvesting
a
a | I | Half round PVC rain water gutter size 110mm wide or other approved size, fixed to fascia board with and including metal brackets at 1000mm centres. | LM | 26 |  | 0
a
a | J | 110mm stop ends | NO | 0 |  | 0
a
a | K | 110 x 75mm gutter outlets | NO | 2 |  | 0
a
a | L | 75mm Ø rain water down pipe fixed and clipped to walls with approved holderbats. | LM | 8 |  | 0
a
a | M | Extra over down pipe for bends | NO | 4 |  | 0
a
a | N | Extra for Horse shoe | NO | 2 |  | 0
a
a
a
a
a
a |  | Total Carried To Bill Summary |  |  |  | 0
a
a
a |  | ELEMENT NO.4 - DOORS
a
a |  | DOORS:
a
a |  | Steel Doors complete with 1coat primer and 3coats of gloss oil paint
a
a | A | D1 - 1100mm x 2400mm high single solid steel framed door with PVO | NO | 1 |  | 0
a
a | B | D2 - 900mm x 2400mm high single solid steel framed door with PVO | NO | 0 |  | 0
a
a | C | D3 - 800mm x 2400mm high single solid steel framed door | NO | 5 |  | 0
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a |  | Total Carried To Bill Summary |  |  |  | 0
a
a
a |  | ELEMENT NO.5 - WALL FINISHES
a
a |  | Plastering and Rendering
a
a | A | Cement sand 1:4 plastering to walls internally | SM | 123 |  | 0
a
a | B | Cement sand 1:4 render to walls externally | SM | 65 |  | 0
a
a | C | Prepare & apply one undercoat and three coats of silk vinnyl emulsion paint to walls internally | SM | 123 |  | 0
a
a | D | Ditto but weather guard paint to walls externally | SM | 65 |  | 0
a
a |  | PWD Stance handles
a | E | Supply and instal 50mm RHS double support handles for disabled secured into 125mm Brick wall to Architects' detail | ITEM | 1 |  | 0
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a |  | Total Carried To Bill Summary |  |  |  | 0
a
a
a |  | ELEMENT NO.6 - FLOOR FINISHES
a
a |  | Floor screed
a | A | 25mm thick cement sand 1:2 screed finished smooth | SM | 25 |  | 0
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a |  | Total Carried To Bill Summary |  |  |  | 0
a
a
a |  | ELEMENT NO.7 - M&E INSTALLATIONS
a
a |  | ELECTRICAL INSTALLATIONS
a | A | Provide a provisional sum for Electrical Installations including all necessary Accessories, connections and appliances (2,000,000Ush) | SUM | 0 |  | 0
a
a |  | PLUMBING INSTALLATIONS
a | B | Provide a provisional sum for Plumbing Installations including PPR 40mm, 32mm,25mm,50mm pipes, bends, elbows, tee, flow-traps and a simple soak-pit 1x1.5m to draine the waste water (2,000,000Ush) | SUM | 1 |  | 0
a
a | C | Connection to the nearest water point to fix a water point in the changing room comprising of excavation for trench, fixing 25mm HDPE pipe, backfilling soils all complete connections. | LM | 0 |  | 0
a
a | D | 12mm chrome plated wall mounted tap at 600mm from the floor laveal, as Jaguar or equal approved. Above the tap at 1.4m high for the floor, fix an open storage cabinet 600x600x200mm depth made of 3vertical & horizontal members of 20mm thick treated varnished hardwood.. | NO | 1 |  | 0
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a |  | Total Carried To Bill Summary |  |  |  | 0
a
a
a |  | ELEMENT NO.8 - EXTERNAL WORKS
a |  | Water tank with a tap
a | A | Supply and install a 500litres PVC storage tanks supported on a concrete base raise 900mm above the ground encase with a 100mm thick walling 300mm high from the tank bottom all complete with 1:2 plaster finish and a half-turn 12mm chrome tap or equally approved | NO | 2 |  | 0
a |  | Access Ramp
a | B | 1200 x 2000 x 300mm average depth ramp comprising of burnt clay brickwork jointed in 1:3mortat joints, hardcore fills to slop, class 20 concrete casting 100mm thick complete with finishing to top and edges wth 1:2 screed. | NO | 2 |  | 0
a | C | Provide for making good existing ramp to ensure smooth connection between the ramp and existing ground in sections where the connection was damaged by the water run-offs. | ITEM |  |  | 0
a
a |  | Paved walkway
a | D | Excavation of soils to reduce levels not exceeding 1.0 metres deep and fill soils at site then compact to 95% MDD | CM |  |  | 0
a
a | E | Imported marrum filling well compacted to 95%MDD in layers not exceeding 150mm, well watered to have a stable ground at site | CM |  |  | 0
a
a | F | 200x100x60mm thick Precast concrete light-duty paving blocks to B.S 340 bedded, jointed and laid on 50mm bed of sand: | SM |  |  | 0
a
a | G | Road Kerbs of Precast concrete grade 20 Half battered road kerbs to B.S 340 bedded, jointed and pointed in cement mortar (1:2) laid on and including plain insitu concrete grade 25 foundation size 450 x 150mm thick and 100 x 165mm high haunching on one side. | LM |  |  | 0
a
a |  | Lightening Protection
a | H | Supply and fix Lightening arrestor, Earth electrode 1200mm, Test clamp, Earth pit, Copper tape of hard drawn high conductivity copper 3mm x 25mm cross section for horizontal and down conductors complete with fixing clips all complete with other Accessories | NO | 1 |  | 0
a
a |  | Total Carried To Bill Summary |  |  |  | 0
a
a
a |  | ELEMENT NO.9 - RENOVATION WORKS
a |  | Steel Doors complete with 1coat primer and 3coats of gloss oil paint
a | A | D1 - 1100mm x 2400mm high single solid steel framed door with PVO | NO |  |  | 0
a | B | D2 - 900mm x 2400mm high single solid steel framed door with PVO | NO |  |  | 0
a | C | D3 - 850mm x 2100mm high single solid steel framed door | NO |  |  | 0
a
a |  | Roofing
a | D | 75 x 100 Rafters and Ties | LM |  |  | 0
a | E | 50 x 75 purlins | LM |  |  | 0
a | F | 20 x 200 mm Fascia board | LM |  |  | 0
a | G | Prepare and paint three coats of weathergaurd paint on 200-300 mm girth | LM |  |  | 0
a | H | 28 Gauge prepainted galvanised super-echo profile roofing sheets nailed on timber purlins as per manufacturers instructions | SM |  |  | 0
a | I | 28 Gauge standard pre-painted ridge capping dress over roofing sheets | LM |  |  | 0
a | J | Ditto: Translucent Roofing Sheets (4no) | SM |  |  | 0
a
a |  | Rainwater Harvesting
a | K | Half round PVC rain water gutter size 110mm wide or other approved size, fixed to fascia board with and including metal brackets at 1500mm centres. | LM |  |  | 0
a | L | 110mm stop ends | NO |  |  | 0
a | M | 110 x 75mm gutter outlets | NO |  |  | 0
a | N | 75mm Ø rain water down pipe fixed and clipped to walls with approved holderbats. | LM |  |  | 0
a | O | Extra over down pipe for bends | NO |  |  | 0
a | P | Extra for Horse shoe | NO |  |  | 0
a
a |  | Wall and Floor Finishes
a | Q | 25mm thick cement sand 1:2 screed finished smooth | SM |  |  | 0
a | R | Cement sand 1:4 plastering to walls internally | SM |  |  | 0
a | S | Cement sand 1:4 render to walls externally | SM |  |  | 0
a
a |  | Painting Works
a | T | Prepare and Apply one undercoat and three coats of silk vinnyl emulsion paint to walls internally | SM |  |  | 0 | 0
a | U | Ditto but weather guard paint to walls externally | SM |  |  | 0
a
a |  | Carried to Collection |  |  |  | 0
a
a
a |  | PWD Stance handles
a | A | Supply and instal 50mm RHS double support handles for disabled secured into 125mm Brick wall to Architects' detail | ITEM |  |  | 0
a
a |  | Plumbing Installations
a | B | Provide a provisional sum for Plumbing Installations including PPR 40mm, 32mm,25mm,50mm pipes, bends, elbows, tee, flow-traps and a simple soak-pit 1x1.5m to draine the waste water (2,000,000Ush) | SUM | 0 |  | 0
a
a | C | Connection to the nearest water point to fix a water point in the changing room comprising of excavation for trench, fixing 25mm HDPE pipe, backfilling soils all complete connections. | LM |  |  | 0
a
a | D | 12mm chrome plated wall mounted tap at 600mm from the floor laveal, as Jaguar or equal approved. Above the tap at 1.4m high for the floor, fix an open storage cabinet 600x600x200mm depth made of 3vertical & horizontal members of 20mm thick treated varnished hardwood.. | NO |  |  | 0
a
a |  | Carried to Collection |  |  |  | 0
a
a |  | COLLECTION
a
a |  | Brought forward from 1 |  |  |  | 0
a
a |  | Brought forward from 2 |  |  |  | 0
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a |  | Total Carried To Bill Summary |  |  |  | 0
a
a
a |  | SUMMARY
a
a |  | LAROO PRIMARY SCHOOL
a
a | 1 | SUBSTRUCTURE |  |  |  | 0
a
a | 2 | SUPERSTRUCTURE WALLING |  |  |  | 0
a
a | 3 | ROOF |  |  |  | 0
a
a | 4 | DOORS |  |  |  | 0
a
a | 5 | WALL FINISHES |  |  |  | 0
a
a | 6 | FLOOR FINISHES |  |  |  | 0
a
a | 7 | M&E INSTALLATIONS |  |  |  | 0
a
a | 8 | EXTERNAL WORKS |  |  |  | 0
a
a | 9 | RENOVATION WORKS |  |  |  | 0
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a |  | TOTAL CARRIED TO MAIN SUMMARY |  |  |  | 0
a

## Fly4-AG
Bill: No.4
AGOLE PRIMARY SCHOOL

## Bill no.4-AGOLE PS
REF | ITEM | DESCRIPTION | UNIT | QTY | RATE (UGX) | AMOUNT (UGX)
a
a |  | Bill No. 4
a
a |  | AGOLE PRIMARY SCHOOL
a
a |  | ELEMENT NO.1-SUBSTRUCTURE
a
a |  | (All Substructure are provisional)
a
a |  | Site Preparation
a
a | A | Excavate oversite to remove Veg. soil average 150mm aver. deep and remove from site. | SM | 50 |  | 0
a
a | B | Excavate for pit not exceeding 1.5m deep | CM | 35 |  | 0
a
a | C | Ditto exceeding exceeding 1.5m but not but not exceeding 4.5m deep | CM | 70 |  | 0
a
a | D | Excavate trenches for wall foundations: commencing from reduced levels: not exceeding 1.5m deep . | CM | 17 |  | 0
a
a |  | Disposal of excavated material
a | E | Return, fill and ram selected/Approved excavated materials around foundations . | CM | 13 |  | 0
a
a | F | Load, cart, deposit, deposite surplus soil on site average 100mm from excavations. | CM | 0 |  | 0
a
a | G | 150mm thick compacted murram base | CM | 4 |  | 0
a
a |  | Vibrated concrete class 20/20mm: , as described
a | H | Strip foundation | CM | 2 |  | 0
a
a | I | 100mm thick base | CM | 2 |  | 0
a
a |  | Vibrated reinforced concrete Grade 25/20 as described
a | J | Slab beams and ring Beams | CM | 2 |  | 0
a
a | A | Columns | CM | 1 |  | 0
a
a | C | 125mm thick Top slab tamped to fabric reinforcement | CM | 3 |  | 0
a
a |  | Carried to Collection |  |  |  | 0
a
a
a |  | Round mild steel bar reinforcement to BS 4449
a
a | A | 8mm. | KG | 140 |  | 0
a
a |  | High yield twistedn bars reinforcement to BS 4449
a
a | B | 12mm diameter bar in beams | KG | 311 |  | 0
a
a | C | 12mm diameter bar in columns | KG | 128 |  | 0
a
a |  | Sawn formwork as described to:
a
a | D | Sides of slab beams and ring beams | SM | 24 |  | 0
a
a | E | Sides of Columns | SM | 27 |  | 0
a
a | F | Soffits of suspended top Slab | SM | 13 |  | 0
a
a | G | Edge of slab 75-300mm thick. | SM | 23 |  | 0
a
a |  | Brickwork in burnt clay bricks in cement and sand mortar (1:4) mix; with and including 25 x 3mm hoop iron strips laid horizontally every alternate course.
a
a | H | 200mm thick brick walling bedded and jointed in cement sand (1:3).mortar with 25 x 1.5 thick metal strip at every course | SM | 88 |  | 0
a
a | I | 19mm approved Water Proof cement sand (1:3) internal plaster finished smooth to walls internally inside the pit | SM | 102 |  | 0
a
a
a
a
a
a
a
a
a
a
a
a
a |  | Carried to Collection |  |  |  | 0
a
a
a | A | 650 x 650 x 4000mm deep inspection and drainage chamber complete with finishes and a steel cover | NO | 1 |  | 0
a
a | B | 100mm diameter uPVC soil and vent pipe 3500mm high with and including metal clips plus wire balloon grating. | NO | 1 |  | 0
a
a | C | 1000gauge DPM membrane laid at the bottom and sidesides of Pit before casting the base | SM | 102 |  | 0
a
a
a |  | Carried to Collection |  |  |  | 0
a
a
a
a |  | COLLECTION
a
a |  | Brought forward from 1 |  |  |  | 0
a
a |  | Brought forward from 2 |  |  |  | 0
a
a |  | Brought forward from 3 |  |  |  | 0
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a |  | Total Carried To Bill Summary |  |  |  | 0
a
a
a |  | ELEMENT NO.2 - SUPERSTRUCTURE WALLING
a
a |  | Brickwork in burnt clay bricks in cement and sand mortar (1:4) mix; with and including 25 x 3mm hoop iron strips laid horizontally every alternate course.
a
a | A | 125mm thick walling reinforced with and including 25 x 3mm hoop iron strips laid horizontally every alternate course. | SM | 98 |  | 0
a
a | B | 100mm thick Pompei burnt clay ventilation 600x600mm | SM | 5 |  | 0
a
a |  | Precast concrete units: class 25/12mm aggregate [mix 1:1.5:3] units : reinforced with 250mm wide weld mesh strip : finished fair on exposed surfaces : bedded and jointed in cement and sand (1:4) mortar;
a
a | C | 125 x 200mm concrete lintol with 4 No. 12mm diameter bars tied with 8mm bars at centres | LM | 25 |  | 0
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a |  | Total Carried To Bill Summary |  |  |  | 0
a
a
a |  | ELEMENT NO.3 - ROOF
a
a |  | Treated Sawn Wood
a
a | A | 75 x 100 Rafters and Ties | LM | 95 |  | 0
a
a | B | 50 x 75mm purlins | LM | 85 |  | 0
a
a | C | 75 x 100mm wall plate | LM | 32 |  | 0
a
a | D | 20 x 200mm Fascia board | LM | 26 |  | 0
a
a | E | Prepare and paint three coats of weathergaurd paint on 200-300 mm girth | LM | 26 |  | 0
a
a |  | Roof covering
a
a | F | 28 Gauge prepainted galvanised super-echo profile roofing sheets nailed on timber purlins as per manufacturers instructions | SM | 43 |  | 0
a
a | G | 28 Gauge standard pre-painted ridge capping dress over roofing sheets | LM | 18 |  | 0
a
a | H | Ditto: Translucent Roofing Sheets (4no) | SM | 10 |  | 0
a
a |  | Rainwater Harvesting
a
a | I | Half round PVC rain water gutter size 110mm wide or other approved size, fixed to fascia board with and including metal brackets at 1000mm centres. | LM | 26 |  | 0
a
a | J | 110mm stop ends | NO | 0 |  | 0
a
a | K | 110 x 75mm gutter outlets | NO | 2 |  | 0
a
a | L | 75mm Ø rain water down pipe fixed and clipped to walls with approved holderbats. | LM | 8 |  | 0
a
a | M | Extra over down pipe for bends | NO | 4 |  | 0
a
a | N | Extra for Horse shoe | NO | 2 |  | 0
a
a
a
a
a
a |  | Total Carried To Bill Summary |  |  |  | 0
a
a
a |  | ELEMENT NO.4 - DOORS
a
a |  | DOORS:
a
a |  | Steel Doors complete with 1coat primer and 3coats of gloss oil paint
a
a | A | D1 - 1100mm x 2400mm high single solid steel framed door with PVO | NO | 1 |  | 0
a
a | B | D2 - 900mm x 2400mm high single solid steel framed door with PVO | NO | 0 |  | 0
a
a | C | D3 - 800mm x 2400mm high single solid steel framed door | NO | 5 |  | 0
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a |  | Total Carried To Bill Summary |  |  |  | 0
a
a
a |  | ELEMENT NO.5 - WALL FINISHES
a
a |  | Plastering and Rendering
a
a | A | Cement sand 1:4 plastering to walls internally | SM | 123 |  | 0
a
a | B | Cement sand 1:4 render to walls externally | SM | 65 |  | 0
a
a | C | Prepare & apply one undercoat and three coats of silk vinnyl emulsion paint to walls internally | SM | 123 |  | 0
a
a | D | Ditto but weather guard paint to walls externally | SM | 65 |  | 0
a
a |  | PWD Stance handles
a | E | Supply and instal 50mm RHS double support handles for disabled secured into 125mm Brick wall to Architects' detail | ITEM | 1 |  | 0
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a |  | Total Carried To Bill Summary |  |  |  | 0
a
a
a |  | ELEMENT NO.6 - FLOOR FINISHES
a
a |  | Floor screed
a | A | 25mm thick cement sand 1:2 screed finished smooth | SM | 25 |  | 0
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a |  | Total Carried To Bill Summary |  |  |  | 0
a
a
a |  | ELEMENT NO.7 - M&E INSTALLATIONS
a
a |  | ELECTRICAL INSTALLATIONS
a | A | Provide a provisional sum for Electrical Installations including all necessary Accessories, connections and appliances (2,000,000Ush) | SUM | 0 |  | 0
a
a |  | PLUMBING INSTALLATIONS
a | B | Provide a provisional sum for Plumbing Installations including PPR 40mm, 32mm,25mm,50mm pipes, bends, elbows, tee, flow-traps and a simple soak-pit 1x1.5m to draine the waste water (2,000,000Ush) | SUM | 1 |  | 0
a
a | C | Connection to the nearest water point to fix a water point in the changing room comprising of excavation for trench, fixing 25mm HDPE pipe, backfilling soils all complete connections. | LM | 0 |  | 0
a
a | D | 12mm chrome plated wall mounted tap at 600mm from the floor laveal, as Jaguar or equal approved. Above the tap at 1.4m high for the floor, fix an open storage cabinet 600x600x200mm depth made of 3vertical & horizontal members of 20mm thick treated varnished hardwood.. | NO | 1 |  | 0
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a |  | Total Carried To Bill Summary |  |  |  | 0
a
a
a |  | ELEMENT NO.8 - EXTERNAL WORKS
a |  | Water tank with a tap
a | A | Supply and install a 500litres PVC storage tanks supported on a concrete base raise 900mm above the ground encase with a 100mm thick walling 300mm high from the tank bottom all complete with 1:2 plaster finish and a half-turn 12mm chrome tap or equally approved | NO | 2 |  | 0
a |  | Access Ramp
a | B | 1200 x 2000 x 300mm average depth ramp comprising of burnt clay brickwork jointed in 1:3mortat joints, hardcore fills to slop, class 20 concrete casting 100mm thick complete with finishing to top and edges wth 1:2 screed. | NO | 2 |  | 0
a | C | Provide for making good existing ramp to ensure smooth connection between the ramp and existing ground in sections where the connection was damaged by the water run-offs. | ITEM |  |  | 0
a
a |  | Paved walkway
a | D | Excavation of soils to reduce levels not exceeding 1.0 metres deep and fill soils at site then compact to 95% MDD | CM |  |  | 0
a
a | E | Imported marrum filling well compacted to 95%MDD in layers not exceeding 150mm, well watered to have a stable ground at site | CM |  |  | 0
a
a | F | 200x100x60mm thick Precast concrete light-duty paving blocks to B.S 340 bedded, jointed and laid on 50mm bed of sand: | SM |  |  | 0
a
a | G | Road Kerbs of Precast concrete grade 20 Half battered road kerbs to B.S 340 bedded, jointed and pointed in cement mortar (1:2) laid on and including plain insitu concrete grade 25 foundation size 450 x 150mm thick and 100 x 165mm high haunching on one side. | LM |  |  | 0
a
a |  | Lightening Protection
a | H | Supply and fix Lightening arrestor, Earth electrode 1200mm, Test clamp, Earth pit, Copper tape of hard drawn high conductivity copper 3mm x 25mm cross section for horizontal and down conductors complete with fixing clips all complete with other Accessories | NO |  |  | 0
a
a |  | Total Carried To Bill Summary |  |  |  | 0
a
a
a |  | ELEMENT NO.9 - RENOVATION WORKS
a |  | Steel Doors complete with 1coat primer and 3coats of gloss oil paint
a | A | D1 - 1100mm x 2400mm high single solid steel framed door with PVO | NO |  |  | 0
a | B | D2 - 900mm x 2400mm high single solid steel framed door with PVO | NO |  |  | 0
a | C | D3 - 850mm x 2100mm high single solid steel framed door | NO |  |  | 0
a
a |  | Roofing
a | D | 75 x 100 Rafters and Ties | LM |  |  | 0
a | E | 50 x 75 purlins | LM |  |  | 0
a | F | 20 x 200 mm Fascia board | LM |  |  | 0
a | G | Prepare and paint three coats of weathergaurd paint on 200-300 mm girth | LM |  |  | 0
a | H | 28 Gauge prepainted galvanised super-echo profile roofing sheets nailed on timber purlins as per manufacturers instructions | SM |  |  | 0
a | I | 28 Gauge standard pre-painted ridge capping dress over roofing sheets | LM |  |  | 0
a | J | Ditto: Translucent Roofing Sheets (4no) | SM |  |  | 0
a
a |  | Rainwater Harvesting
a | K | Half round PVC rain water gutter size 110mm wide or other approved size, fixed to fascia board with and including metal brackets at 1500mm centres. | LM |  |  | 0
a | L | 110mm stop ends | NO |  |  | 0
a | M | 110 x 75mm gutter outlets | NO |  |  | 0
a | N | 75mm Ø rain water down pipe fixed and clipped to walls with approved holderbats. | LM |  |  | 0
a | O | Extra over down pipe for bends | NO |  |  | 0
a | P | Extra for Horse shoe | NO |  |  | 0
a
a |  | Wall and Floor Finishes
a | Q | 25mm thick cement sand 1:2 screed finished smooth | SM |  |  | 0
a | R | Cement sand 1:4 plastering to walls internally | SM |  |  | 0
a | S | Cement sand 1:4 render to walls externally | SM |  |  | 0
a
a |  | Painting Works
a | T | Prepare and Apply one undercoat and three coats of silk vinnyl emulsion paint to walls internally | SM |  |  | 0
a | U | Ditto but weather guard paint to walls externally | SM |  |  | 0
a
a |  | Carried to Collection |  |  |  | 0
a
a
a |  | PWD Stance handles
a | A | Supply and instal 50mm RHS double support handles for disabled secured into 125mm Brick wall to Architects' detail | ITEM |  |  | 0
a
a |  | Plumbing Installations
a | B | Provide a provisional sum for Plumbing Installations including PPR 40mm, 32mm,25mm,50mm pipes, bends, elbows, tee, flow-traps and a simple soak-pit 1x1.5m to draine the waste water (2,000,000Ush) | SUM | 0 |  | 0
a
a | C | Connection to the nearest water point to fix a water point in the changing room comprising of excavation for trench, fixing 25mm HDPE pipe, backfilling soils all complete connections. | LM |  |  | 0
a
a | D | 12mm chrome plated wall mounted tap at 600mm from the floor laveal, as Jaguar or equal approved. Above the tap at 1.4m high for the floor, fix an open storage cabinet 600x600x200mm depth made of 3vertical & horizontal members of 20mm thick treated varnished hardwood.. | NO |  |  | 0
a
a |  | Carried to Collection |  |  |  | 0
a
a |  | COLLECTION
a
a |  | Brought forward from 1 |  |  |  | 0
a
a |  | Brought forward from 2 |  |  |  | 0
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a |  | Total Carried To Bill Summary |  |  |  | 0
a
a
a |  | SUMMARY
a
a |  | AGOLE PRIMARY SCHOOL
a
a | 1 | SUBSTRUCTURE |  |  |  | 0
a
a | 2 | SUPERSTRUCTURE WALLING |  |  |  | 0
a
a | 3 | ROOF |  |  |  | 0
a
a | 4 | DOORS |  |  |  | 0
a
a | 5 | WALL FINISHES |  |  |  | 0
a
a | 6 | FLOOR FINISHES |  |  |  | 0
a
a | 7 | M&E INSTALLATIONS |  |  |  | 0
a
a | 8 | EXTERNAL WORKS |  |  |  | 0
a
a | 9 | RENOVATION WORKS |  |  |  | 0
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a |  | TOTAL CARRIED TO MAIN SUMMARY |  |  |  | 0
a

## Fly5-PB
Bill: No.5
PABO PRIMARY SCHOOL

## Bill no.5-PABO PS
REF | ITEM | DESCRIPTION | UNIT | QTY | RATE (UGX) | AMOUNT (UGX)
a
a |  | Bill No. 5
a
a |  | PABO PRIMARY SCHOOL
a
a |  | ELEMENT NO.1-SUBSTRUCTURE
a
a |  | (All Substructure are provisional)
a
a |  | Site Preparation
a
a | A | Excavate oversite to remove Veg. soil average 150mm aver. deep and remove from site. | SM |  |  | 0
a
a | B | Excavate for pit not exceeding 1.5m deep | CM |  |  | 0
a
a | C | Ditto exceeding exceeding 1.5m but not but not exceeding 4.5m deep | CM |  |  | 0
a
a | D | Excavate trenches for wall foundations: commencing from reduced levels: not exceeding 1.5m deep . | CM |  |  | 0
a
a |  | Disposal of excavated material
a | E | Return, fill and ram selected/Approved excavated materials around foundations . | CM |  |  | 0
a
a | F | Load, cart, deposit, deposite surplus soil on site average 100mm from excavations. | CM |  |  | 0
a
a | G | 150mm thick compacted murram base | CM |  |  | 0
a
a |  | Vibrated concrete class 20/20mm: , as described
a | H | Strip foundation | CM |  |  | 0
a
a | I | 100mm thick base | CM |  |  | 0
a
a |  | Vibrated reinforced concrete Grade 25/20 as described
a | J | Slab beams and ring Beams | CM |  |  | 0
a
a | A | Columns | CM |  |  | 0
a
a | C | 125mm thick Top slab tamped to fabric reinforcement | CM |  |  | 0
a
a |  | Carried to Collection |  |  |  | 0
a
a
a |  | Round mild steel bar reinforcement to BS 4449
a
a | A | 8mm. | KG |  |  | 0
a
a |  | High yield twistedn bars reinforcement to BS 4449
a
a | B | 12mm diameter bar in beams | KG |  |  | 0
a
a | C | 12mm diameter bar in columns | KG |  |  | 0
a
a |  | Sawn formwork as described to:
a
a | D | Sides of slab beams and ring beams | SM |  |  | 0
a
a | E | Sides of Columns | SM |  |  | 0
a
a | F | Soffits of suspended top Slab | SM |  |  | 0
a
a | G | Edge of slab 75-300mm thick. | SM |  |  | 0
a
a |  | Brickwork in burnt clay bricks in cement and sand mortar (1:4) mix; with and including 25 x 3mm hoop iron strips laid horizontally every alternate course.
a
a | H | 200mm thick brick walling bedded and jointed in cement sand (1:3).mortar with 25 x 1.5 thick metal strip at every course | SM |  |  | 0
a
a | I | 19mm approved Water Proof cement sand (1:3) internal plaster finished smooth to walls internally inside the pit | SM |  |  | 0
a
a
a
a
a
a
a
a
a
a
a
a
a |  | Carried to Collection |  |  |  | 0
a
a
a | A | 650 x 650 x 4000mm deep inspection and drainage chamber complete with finishes and a steel cover | NO |  |  | 0
a
a | B | 100mm diameter uPVC soil and vent pipe 3500mm high with and including metal clips plus wire balloon grating. | NO |  |  | 0
a
a | C | 1000gauge DPM membrane laid at the bottom and sidesides of Pit before casting the base | SM |  |  | 0
a
a
a |  | Carried to Collection |  |  |  | 0
a
a
a
a |  | COLLECTION
a
a |  | Brought forward from 1 |  |  |  | 0
a
a |  | Brought forward from 2 |  |  |  | 0
a
a |  | Brought forward from 3 |  |  |  | 0
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a |  | Total Carried To Bill Summary |  |  |  | 0
a
a
a |  | ELEMENT NO.2 - SUPERSTRUCTURE WALLING
a
a |  | Brickwork in burnt clay bricks in cement and sand mortar (1:4) mix; with and including 25 x 3mm hoop iron strips laid horizontally every alternate course.
a
a | A | 125mm thick walling reinforced with and including 25 x 3mm hoop iron strips laid horizontally every alternate course. | SM |  |  | 0
a
a | B | 100mm thick Pompei burnt clay ventilation 600x600mm | SM |  |  | 0
a
a |  | Precast concrete units: class 25/12mm aggregate [mix 1:1.5:3] units : reinforced with 250mm wide weld mesh strip : finished fair on exposed surfaces : bedded and jointed in cement and sand (1:4) mortar;
a
a | C | 125 x 200mm concrete lintol with 4 No. 12mm diameter bars tied with 8mm bars at centres | LM |  |  | 0
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a |  | Total Carried To Bill Summary |  |  |  | 0
a
a
a |  | ELEMENT NO.3 - ROOF
a
a |  | Treated Sawn Wood
a
a | A | 75 x 100 Rafters and Ties | LM |  |  | 0
a
a | B | 50 x 75mm purlins | LM |  |  | 0
a
a | C | 75 x 100mm wall plate | LM |  |  | 0
a
a | D | 20 x 200mm Fascia board | LM |  |  | 0
a
a | E | Prepare and paint three coats of weathergaurd paint on 200-300 mm girth | LM |  |  | 0
a
a |  | Roof covering
a
a | F | 28 Gauge prepainted galvanised super-echo profile roofing sheets nailed on timber purlins as per manufacturers instructions | SM |  |  | 0
a
a | G | 28 Gauge standard pre-painted ridge capping dress over roofing sheets | LM |  |  | 0
a
a | H | Ditto: Translucent Roofing Sheets (4no) | SM |  |  | 0
a
a |  | Rainwater Harvesting
a
a | I | Half round PVC rain water gutter size 110mm wide or other approved size, fixed to fascia board with and including metal brackets at 1000mm centres. | LM |  |  | 0
a
a | J | 110mm stop ends | NO |  |  | 0
a
a | K | 110 x 75mm gutter outlets | NO |  |  | 0
a
a | L | 75mm Ø rain water down pipe fixed and clipped to walls with approved holderbats. | LM |  |  | 0
a
a | M | Extra over down pipe for bends | NO |  |  | 0
a
a | N | Extra for Horse shoe | NO |  |  | 0
a
a
a
a
a
a |  | Total Carried To Bill Summary |  |  |  | 0
a
a
a |  | ELEMENT NO.4 - DOORS
a
a |  | DOORS:
a
a |  | Steel Doors complete with 1coat primer and 3coats of gloss oil paint
a
a | A | D1 - 1100mm x 2400mm high single solid steel framed door with PVO | NO |  |  | 0
a
a | B | D2 - 900mm x 2400mm high single solid steel framed door with PVO | NO |  |  | 0
a
a | C | D3 - 800mm x 2400mm high single solid steel framed door | NO |  |  | 0
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a |  | Total Carried To Bill Summary |  |  |  | 0
a
a
a |  | ELEMENT NO.5 - WALL FINISHES
a
a |  | Plastering and Rendering
a
a | A | Cement sand 1:4 plastering to walls internally | SM |  |  | 0
a
a | B | Cement sand 1:4 render to walls externally | SM |  |  | 0
a
a | C | Prepare & apply one undercoat and three coats of silk vinnyl emulsion paint to walls internally | SM |  |  | 0
a
a | D | Ditto but weather guard paint to walls externally | SM |  |  | 0
a
a |  | PWD Stance handles
a | E | Supply and instal 50mm RHS double support handles for disabled secured into 125mm Brick wall to Architects' detail | ITEM |  |  | 0
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a |  | Total Carried To Bill Summary |  |  |  | 0
a
a
a |  | ELEMENT NO.6 - FLOOR FINISHES
a
a |  | Floor screed
a | A | 25mm thick cement sand 1:2 screed finished smooth | SM |  |  | 0
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a |  | Total Carried To Bill Summary |  |  |  | 0
a
a
a |  | ELEMENT NO.7 - M&E INSTALLATIONS
a
a |  | ELECTRICAL INSTALLATIONS
a | A | Provide a provisional sum for Electrical Installations including all necessary Accessories, connections and appliances (2,000,000Ush) | SUM |  |  | 0
a
a |  | PLUMBING INSTALLATIONS
a | B | Provide a provisional sum for Plumbing Installations including PPR 40mm, 32mm,25mm,50mm pipes, bends, elbows, tee, flow-traps and a simple soak-pit 1x1.5m to draine the waste water (2,000,000Ush) | SUM |  |  | 0
a
a | C | Connection to the nearest water point to fix a water point in the changing room comprising of excavation for trench, fixing 25mm HDPE pipe, backfilling soils all complete connections. | LM |  |  | 0
a
a | D | 12mm chrome plated wall mounted tap at 600mm from the floor laveal, as Jaguar or equal approved. Above the tap at 1.4m high for the floor, fix an open storage cabinet 600x600x200mm depth made of 3vertical & horizontal members of 20mm thick treated varnished hardwood.. | NO |  |  | 0
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a |  | Total Carried To Bill Summary |  |  |  | 0
a
a
a |  | ELEMENT NO.8 - EXTERNAL WORKS
a |  | Water tank with a tap
a | A | Supply and install a 500litres PVC storage tanks supported on a concrete base raise 900mm above the ground encase with a 100mm thick walling 300mm high from the tank bottom all complete with 1:2 plaster finish and a half-turn 12mm chrome tap or equally approved | NO | 2 |  | 0
a |  | Access Ramp
a | B | 1200 x 2000 x 300mm average depth ramp comprising of burnt clay brickwork jointed in 1:3mortat joints, hardcore fills to slop, class 20 concrete casting 100mm thick complete with finishing to top and edges wth 1:2 screed. | NO | 2 |  | 0
a | C | Provide for making good existing ramp to ensure smooth connection between the ramp and existing ground in sections where the connection was damaged by the water run-offs. | ITEM |  |  | 0
a
a |  | Paved walkway
a | D | Excavation of soils to reduce levels not exceeding 1.0 metres deep and fill soils at site then compact to 95% MDD | CM | 9 |  | 0
a
a | E | Imported marrum filling well compacted to 95%MDD in layers not exceeding 150mm, well watered to have a stable ground at site | CM | 6 |  | 0
a
a | F | 200x100x60mm thick Precast concrete light-duty paving blocks to B.S 340 bedded, jointed and laid on 50mm bed of sand: | SM | 30 |  | 0
a
a | G | Road Kerbs of Precast concrete grade 20 Half battered road kerbs to B.S 340 bedded, jointed and pointed in cement mortar (1:2) laid on and including plain insitu concrete grade 25 foundation size 450 x 150mm thick and 100 x 165mm high haunching on one side. | LM | 40 |  | 0
a
a |  | Lightening Protection
a | H | Supply and fix Lightening arrestor, Earth electrode 1200mm, Test clamp, Earth pit, Copper tape of hard drawn high conductivity copper 3mm x 25mm cross section for horizontal and down conductors complete with fixing clips all complete with other Accessories | NO |  |  | 0
a
a |  | Total Carried To Bill Summary |  |  |  | 0
a
a
a |  | ELEMENT NO.9 - RENOVATION WORKS
a |  | Steel Doors complete with 1coat primer and 3coats of gloss oil paint
a | A | D1 - 1100mm x 2400mm high single solid steel framed door with PVO | NO | 1 |  | 0
a | B | D2 - 900mm x 2400mm high single solid steel framed door with PVO | NO |  |  | 0
a | C | D3 - 850mm x 2100mm high single solid steel framed door | NO | 4 |  | 0
a
a |  | Roofing
a | D | 75 x 100 Rafters and Ties | LM |  |  | 0
a | E | 50 x 75 purlins | LM |  |  | 0
a | F | 20 x 200 mm Fascia board | LM | 20 |  | 0
a | G | Prepare and paint three coats of weathergaurd paint on 200-300 mm girth | LM | 20 |  | 0
a | H | 28 Gauge prepainted galvanised super-echo profile roofing sheets nailed on timber purlins as per manufacturers instructions | SM |  |  | 0
a | I | 28 Gauge standard pre-painted ridge capping dress over roofing sheets | LM |  |  | 0
a | J | Ditto: Translucent Roofing Sheets (4no) | SM |  |  | 0
a
a |  | Rainwater Harvesting
a | K | Half round PVC rain water gutter size 110mm wide or other approved size, fixed to fascia board with and including metal brackets at 1500mm centres. | LM | 8 |  | 0
a | L | 110mm stop ends | NO | 2 |  | 0
a | M | 110 x 75mm gutter outlets | NO | 2 |  | 0
a | N | 75mm Ø rain water down pipe fixed and clipped to walls with approved holderbats. | LM | 8 |  | 0
a | O | Extra over down pipe for bends | NO | 4 |  | 0
a | P | Extra for Horse shoe | NO | 2 |  | 0
a
a |  | Wall and Floor Finishes
a | Q | 25mm thick cement sand 1:2 screed finished smooth | SM | 25 |  | 0
a | R | Cement sand 1:4 plastering to walls internally | SM |  |  | 0
a | S | Cement sand 1:4 render to walls externally | SM | 54 |  | 0
a
a |  | Painting Works
a | T | Prepare and Apply one undercoat and three coats of silk vinnyl emulsion paint to walls internally | SM | 136 |  | 0
a | U | Ditto but weather guard paint to walls externally | SM | 54 |  | 0
a
a |  | Carried to Collection |  |  |  | 0
a
a
a |  | PWD Stance handles
a | A | Supply and instal 50mm RHS double support handles for disabled secured into 125mm Brick wall to Architects' detail | ITEM | 1 |  | 0
a
a |  | Plumbing Installations
a | B | Provide a provisional sum for Plumbing Installations including PPR 40mm, 32mm,25mm,50mm pipes, bends, elbows, tee, flow-traps and a simple soak-pit 1x1.5m to draine the waste water (2,000,000Ush) | SUM | 0 |  | 0
a
a | C | Connection to the nearest water point to fix a water point in the changing room comprising of excavation for trench, fixing 25mm HDPE pipe, backfilling soils all complete connections. | LM |  |  | 0
a
a | D | 12mm chrome plated wall mounted tap at 600mm from the floor laveal, as Jaguar or equal approved. Above the tap at 1.4m high for the floor, fix an open storage cabinet 600x600x200mm depth made of 3vertical & horizontal members of 20mm thick treated varnished hardwood.. | NO |  |  | 0
a
a |  | Carried to Collection |  |  |  | 0
a
a |  | COLLECTION
a
a |  | Brought forward from 1 |  |  |  | 0
a
a |  | Brought forward from 2 |  |  |  | 0
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a |  | Total Carried To Bill Summary |  |  |  | 0
a
a
a |  | SUMMARY
a
a |  | PABO PRIMARY SCHOOL
a
a | 1 | SUBSTRUCTURE |  |  |  | 0
a
a | 2 | SUPERSTRUCTURE WALLING |  |  |  | 0
a
a | 3 | ROOF |  |  |  | 0
a
a | 4 | DOORS |  |  |  | 0
a
a | 5 | WALL FINISHES |  |  |  | 0
a
a | 6 | FLOOR FINISHES |  |  |  | 0
a
a | 7 | M&E INSTALLATIONS |  |  |  | 0
a
a | 8 | EXTERNAL WORKS |  |  |  | 0
a
a | 9 | RENOVATION WORKS |  |  |  | 0
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a
a |  | TOTAL CARRIED TO MAIN SUMMARY |  |  |  | 0
a